Note 1: Correlation between independent measurements of protein aboundance.

In general the correlation between two proteomic datasets generated by two techniques and in different labs is quite high, varying between rs = 0.6 to rs = 0.8. For example (see Lu et al. 2006):  the APEX vs. Western blot gives rs = 0.61, APEX vs. flow cytometry gives rs = 0.69, APEX vs. 2D gel gives rs = 0.8, APEX vs. GFP fusion protein quantities gives 0.69, (Newman et al. 2006): flow cytometry vs Western blot gives rs = 0.8. The correlation between two major (largest) protein abundance measurements (Ghaemmaghami et al. 2003 vs  Newman et al. 2006) in the same condition (YEPD) is  rs = 0.61,  p-value < 10-50 (2268 genes).

When using the same technology and lab the correlations become even higher. For APEX (Lu et al. 2006) it is rs = 0.98, for flow cytometry  (Newman et al. 2006) it is rs = 0.99, for Western blot (Newman et al. 2006) it is rs = 0.77, and for mass spectrometry (Schmidt et al. 2007) rs = 0.85.