Protocol 1: FITC Protocol

- FITC soln at 400nM used for robotic addition to wells.  A 4-fold in-well
dilution yielded 100nM final in a final 100ul well volume.

- Wells contained 75 ul water.

- Instrument settings:
        Flex mode = serial reads at FITC wavelengths (495ex/ 525em, 510
cutoff)
        Robotic additions at 20 seconds
        Additions defined by time / volume / ejection height / ejection
speed plus
                trituration # cycles / volume / height (speed is defined
by above)

- Settings for first vs second data set were:
        25ul volume / 75ul height / speed 1
        25ul volume / 50ul height / speed 4 plus 1 trituration @ 25ul
volume, 50ul height